## Sheet2
Packing List
No | Nama Barang | Jumlah | Satuan | Jumlah koli | Keterangan
Monitoring System (Sudah di wiring)
1 | Box Panel Powder Coating 500x400x200mm | 4 | set | 11
2 | Socket Outlet 1P+N+P (A9A 15310) | 8 | pcs
3 | MCB 1P 6A (IC60N) | 8 | pcs
4 | Terminal Input 4mm (NSYTRV42) | 8 | pcs
5 | Terminal Input 4mm (NSYTRV42PE) | 4 | pcs
6 | Wiring Duct 32x45mm | 4 | btg
7 | End Section | 8 | pcs
8 | Din Rail | 4 | btg
9 | Accessories Wiring | 4 | lot
10 | Power Meter Schneider PM5350 | 4 | pcs
11 | Terminal UK (For CT Wiring) | 16 | pcs
12 | MCB 4P 4A (For Reference Voltage) | 4 | pcs
13 | Kabel RS485 | 1470 | meter
Current Transformer
14 | Accessories Wiring | 4 | lot | 3
Panel DC Combiner Box
15 | Enclosure Box-1, Size : W:1200xH:800xD:200 mm, Material: Metal Sheet Grey, Include Acrylic, Spec. Outdoor | 3 | set | 3
16 | Enclosure Box-2, Size : W:1200xH:800xD:200 mm, Material: Metal Sheet Grey, Include Acrylic, Spec. Indoor | 3 | set | 3
17 | Enclosure Box-3, Size : W:1200xH:1000xD:200 mm, Material: Metal Sheet Grey, Include Acrylic, Spec. Indoor | 2 |  | 2
18 | Enclosure Box-4, Size : W:700xH:800xD:200 mm, Material: Metal Sheet Grey, Include Acrylic, Spec. Outdoor | 1 | set | 1
19 | Enclosure Box-5, Size : W:292xH:370xD:132 mm, Material: Policarbonate, Include Acrylic | 3 | set | 3
20 | Fuse DC gPV 1P 20A 1000VDC | 208 | pcs | 1
21 | DC Switch 32A | 104 | pcs | 2
22 | Din Rail | 19 | btg | 1
23 | Stopper Din Rail | 76 | pcs | 1
24 | Wiring Duct 65x65x3000mm | 8 | btg | 3
25 | Wiring Duct 50x50x3000mm | 6 | btg
26 | PG-63 | 10 | pcs |  | inc. poin no. 12
27 | Accessories Wiring | 11 | box |  | inc. poin no. 24
Cable Management
28 | Flexible metal Conduit 1/2 inch | 11 | roll | 11
29 | Flexible metal Conduit 2 inch | 80 | meter | 4
30 | Flexible metal Conduit 1,5inch | 10 | meter | 1
31 | Flexible metal Conduit 1 inch | 13 | meter | 1
32 | Kabel Ties stainless ukuran 30 mm | 46 | pack | 3
33 | Kabel Ties hitam ukuran 30 mm | 25 | pack
34 | connector gland 1/2 | 258 | pcs
35 | metal Gland PG48 | 60 | pcs
36 | gland metal PG29 | 4 | pcs
Aksesories
37 | Sealent | 14 | tube | 2
38 | Sealent Foam | 10 | tube
39 | Isolasi listrik (Merah) | 14 | pcs
40 | Isolasi listrik (Kuning) | 14 | pcs
41 | Isolasi listrik (Biru) | 14 | pcs
42 | Isolasi listrik (Hijau) | 14 | pcs
43 | Isolasi listrik (Hitam) | 24 | pcs
44 | MC4 20A 1000VDC | 306 | pair | 1
45 | Vynil (merah) 35 sqmm | 21 |  |  | inc. poin no. 37
46 | Vynil (kuning) 35 sqmm | 21
47 | Vynil (Hijau) 35 sqmm | 21 | pcs
48 | Vynil (Biru) 35 sqmm | 21 | pcs
49 | Vynil (Hitam) 35 sqmm | 21 | pcs
50 | Vynil (merah) 25 sqmm | 44
51 | Vynil (kuning) 25 sqmm | 44
52 | Vynil (Hijau) 25 sqmm | 44 | pcs
53 | Vynil (Biru) 25 sqmm | 44 | pcs
54 | Vynil (Hitam) 25 sqmm | 44 | pcs
55 | Vynil (Merah) 185 sqmm | 14 | pcs
56 | Vynil (Kuning) 185 sqmm | 14 | pcs
57 | Vynil (Hijau) 185 sqmm | 14 | pcs
58 | Vynil (Biru) 185 sqmm | 14 | pcs
59 | Vynil (Hitam) 185 sqmm | 14 | pcs
60 | Vynil (Merah) 240 sqmm | 6 | pcs
61 | Vynil (Kuning) 240 sqmm | 6 | pcs
62 | Vynil (Hijau) 240 sqmm | 6 | pcs
63 | Vynil (Biru) 240 sqmm | 6 | pcs
64 | Vynil (Hitam) 240 sqmm | 6 | pcs
65 | Vynil (Hijau) 10 sqmm | 103 | pcs
66 | Vynil (Hijau) 16 sqmm | 74 | pcs
67 | Vynil (Hijau) 185 sqmm | 13 | pcs
68 | Schoen Verbending 10 sqmm | 90 | pcs
69 | Schoen Ring 6 sqmm | 100 | pcs
70 | Schoen Ferules 6 sqmm | 400 | pcs
71 | Schoen Ring 2,5 sqmm | 60 | pcs
72 | Schoen Ferules 2,5 sqmm | 120 | pcs
73 | Schoen kabel GAE 35 sqmm | 135 | pcs
74 | Schoen kabel GAE 25 sqmm | 210 | pcs
75 | Schoen kabel GAE 185 sqmm | 105 | pcs
76 | Schoen kabel GAE 240 sqmm | 10 | pcs
77 | Pin RJ45 | 30 | pcs
| Total |  |  | 57